## ELCADExport
Cur_No_ | QUANTITY | HASLER_PN | DESIGNATION | TECHNICAL_DATA | SUPPLIER | ORDER_NUMBER
1 | 1 |  | Transformer | XXXXVA/ YYYVAC,Z0Hz, +/-5% / R | LEIPOLE | JBK5-XXXX
2 | 8 | ACC | Wiring accessories | - | - | ACC
3 | 8 | GRAVUREPLAQUE | Engraving | - | - | GRAVUREPLAQUE
4 | 7 | H00020077 | Description plate | - | HASLER | H00020077
5 | 1 | H00024300 | Description plate | without CE labelling | HASLER | H00024300
6 | 8 | LAB | Labor | - | - | LAB
7 | 6 | PROB2a.950 | Special Instruction |  | HASLER | PROB2a.950
8 | 1 | XXXX.XXXX | Distributor | 40A-230V / 2P DC | ------- | ------
9 | 1 | 1620.4205 | Transformer | Up200.600V/Us230(2x115V)/1KVA | HABERMANN | HST7021
10 | 3 | 1621.0103 | Output choke | 3x 4,883mH / 6A / 100Hz | HABERMANN | HA7500-VM111
11 | 2 | 1650.3323 | Power supply | 85..264VAC/24VDC 2.5A | WAGO | 787-712
12 | 1 | 1660.0208 | Terminal | 6 (10) mm2 | PHOENIX | 03 11 08 7
13 | 1 | 1660.8801 | Connection module DB9 | DB9/female - terminal adapter | PHOENIX | 22 81 18 6
14 | 4 | 1660.9101 | Rem. display Connection module | SUBD9PM /TERMINAL 1..9+GND | HASLER | ----------
15 | 4 | 1660.9102 | IO Connection module | SUBD25M /TERMINAL 1.25+GND | HASLER | ----------
16 | 4 | 1660.9103 | Feeder Connection module | SUBD25F /TERMINAL 1.25+GND | HASLER | ----------
17 | 1 | 1660.9104 | Ext I/O Dig Connection module | SUBD37M /TERMINAL 1.37+GND | HASLER | ----------
18 | 1 | 1660.9105 | Ext I/O Ana Connection module | SUBD15M /TERMINAL 1.15+GND | HASLER | ----------
19 | 4 | 1660.9106 | Clamping system for shielded cable | 6xDiam 3..14mm | HASLER | ----------
20 | 5 | 1660.9500 | Power rack module | EP module 230V AC | HASLER | 1660.9500
21 | 4 | 1661.1163 | Plug | 1,5MHZ/ Elbow | SIEMENS | 6ES7972-0BA420XA0
22 | 2 | 1661.1235 | Plug | 10/100 | SCHNEIDER | TCSEK3MDS
23 | 1 | 1661.1262 | Plug | CAN OPEN&Line termination | WAGO | 750-963
24 | 1 | 1661.2002 | Plug | 220..250VAC 16A (D) | SCHNEIDER | A9A15310
25 | 1 | 1668.3053 | Cable HF9, EP | L = 4,0 m | HASLER | 1668.3053
26 | 4 | 1668.3092 | Cable ETHERNET | RJ45/CAT6/grey/2,0m | LAFI | 856864
27 | 1 | 1668.9120 | Cable SCMIII Feeder | DB25F-ELB/DB25M-STR/1,5m | HASLER | 1668.9120
28 | 3 | 1668.9121 | Cable SCMIII Feeder | DB25F-ELB/DB25M-STR/2,5m | HASLER | 1668.9121
29 | 1 | 1668.9122 | Cable SCMIII Rem Display | DB9M-ELB/DB9F-STR/1,5m | HASLER | 1668.9122
30 | 3 | 1668.9123 | Cable SCMIII Rem Display | DB9M-ELB/DB9F-STR/2,5m | HASLER | 1668.9123
31 | 4 | 1668.9125 | Cable SCMIII Drive | DB9F-ELB/DB9F-STR/2,5m | HASLER | 1668.9125
32 | 1 | 1668.9128 | Cable SCMIII I/O | DB25M-ELB/DB25F-STR/1,5m | HASLER | 1668.9128
33 | 3 | 1668.9129 | Cable SCMIII I/O | DB25M-ELB/DB25F-STR/2,5m | HASLER | 1668.9129
34 | 1 | 1668.9131 | Cable SCMIII EXT. Dig I/O | DB37M-ELB/DB37F-STR/2,5m | HASLER | 1668.9131
35 | 1 | 1668.9133 | Cable SCMIII EXT. Ana I/O | DB15M-ELB/DB15F-STR/2,5m | HASLER | 1668.9133
36 | 4 | 1668.9134 | Cable PDU COMMUNICATION | RJ45/CAT6/blue/1,5m | LAFI | 856859
37 | 2 | 1668.9135 | Cable PDU COMMUNICATION | RJ45/CAT6/blue/3,0m | LAFI | 856877
38 | 1 | 1669.1010 | Cover |  | PHOENIX | 03.10.02.0
39 | 1 | 1700.3305 | Main switch | 3 P, 32 A (IP65) | SCHNEIDER | VCD- 1
40 | 1 | 1700.9056 | Distributor | 40A-4P/2x10mm 11x4mm2 | LEGRAND | 0 048 85
41 | 1 | 1700.9071 | Distributor | 24x"+, ."/40A / 6...1,5mm2 | WEIDMUELLER | 2506370000
42 | 1 | 1710.3015 | Relay | 24 VDC / 4xCO | SCHNEIDER | RXM4AB2BD
43 | 7 | 1710.5004 | Relay | 24 VDC / 1xCO | PHOENIX | 2966171
44 | 5 | 1710.7424 | Multi function safety modul | 48..240V AC-DC 3xSafety/ | SCHNEIDER | XPSUAF33AP
45 | 5 | 1714.7504 | Contactor | 230 VAC / 9 A / 50-60 Hz | SCHNEIDER | LC1-D09P7
46 | 1 | 1714.7505 | Contactor | 230 VAC / 18 A / 50-60 Hz | SCHNEIDER | LC1-D18P7
47 | 1 | 1714.7511 | Contactor | 230 VAC / 6 A / 50-60 Hz | SCHNEIDER | LC1-K0610P7
48 | 1 | 1719.7008 | Relay socket | 2xCO/4xCO / DC | SCHNEIDER | RXZE2S114M+RZM040W
49 | 1 | 1719.8603 | Auxiliary contact | 1xNO/1xNC | SCHNEIDER | GV-AE11
50 | 5 | 1719.8607 | Auxiliary contact | 2xNO | SCHNEIDER | GV-AE20
51 | 1 | 1719.8615 | Auxiliary contact | 1xNO/1xNO TH | SCHNEIDER | GV-AD1010
52 | 1 | 1724.0052 | Line circuit breaker | 1P+N, In :1A , Icc: 50kA | SCHNEIDER | A9F74601
53 | 1 | 1724.0072 | Line circuit breaker | 2P, In :4A , Icc: 50kA | SCHNEIDER | A9F75204
54 | 1 | 1724.0107 | Line circuit breaker | 1P+N, In :6A , Icc: 10kA | SCHNEIDER | A9P34606
55 | 1 | 1725.2003 | Motor circuit breaker | 3P, 0,16 - 0,25 A | SCHNEIDER | GV2-ME02
56 | 1 | 1725.3026 | Motor circuit breaker | 3P, 1,6 - 2,5 A | SCHNEIDER | GV2-ME07
57 | 1 | 1725.3063 | Circuit breaker for transformer | 3P, 2,5-4A | SCHNEIDER | GV2-RT08
58 | 1 | 1725.4045 | Motor circuit breaker | 3P, 14 A | SCHNEIDER | GV2-L16
59 | 1 | 1725.4055 | Motor circuit breaker | 3P, 18 A | SCHNEIDER | GV2-L20
60 | 3 | 1725.4056 | Motor circuit breaker | 3P, 10 A | SCHNEIDER | GV2-L14
61 | 1 | 1840.0047 | Fan | 230/250m3/h / 230V / RAL 7035 | RITTAL | SK 3241.700
62 | 1 | 1840.0055 | Fan | 105m3/h / 230VAC / RAL 7035 | RITTAL | SK 3239.700
63 | 11 | 2240.3019 | Filter | 255 x 255 x 30 RAL 7035 | RITTAL | -> Replaced by 2240.3029
64 | 4 | 2517.1020 | Controller SCM | SCMIII PANEL | HASLER | 2517.1020.080.001-E
65 | 4 | 2517.1320 | Communication board | COM board PROFIBUS DP | HASLER | 2517.1320
66 | 1 | 2517.1720 | Board EXTENDED IO | EXTENDED IO -SCMIIIP | HASLER | 2517.1720
67 | 2 | 2518.1020 | PDU console panel | Static-Dynamic-IP65-24VDC-CE,Ul | HASLER | 2518.1020
68 | 1 | 2600.1101 | End modul | END Terminal | WAGO | 750-600
69 | 2 | 2600.1102 | Digital Input Modul | 2x DI / 24VDC | WAGO | 750-400
70 | 4 | 2600.1112 | Digital Output Modul | 2x DO/0.. 250VAC/1A/SPST | WAGO | 750-513
71 | 1 | 2600.1117 | Analog Input Modul | 2x AI / 4-20mA differential | WAGO | 750-454
72 | 1 | 2600.1124 | Analog Output Modul | 2x AO / 4-20mA | WAGO | 750-554
73 | 2 | 2600.1127 | Power supply Modul | 0-230VAC-DC/10A w.o.fuse | WAGO | 750-612
74 | 1 | 2600.1159 | Fieldbus Coupler CAN OPEN | CAN OPEN10kBd-1MBd | WAGO | 750-348
75 | 4 | 2600.1526 | Profinet Cable | RJ45-RJ45 Straight/ L:2m | SIEMENS | 6XV1870-3QH20
76 | 1 | 2601.2297 | Frequency inverter AC | 380-500V / 2,2kW | SEW | MC07 B 0022-5A3-4-00
77 | 1 | 2601.2301 | Console | FBG11B, IP20 | SEW | 1820 635 2
78 | 1 | 2601.2540 | Frequency inverter AC | 380-415V / 3,0 kW | ABB | ACS880-01-07A2-3
79 | 1 | 2601.2556 | Frequency inverter AC | 380-480V/7,5kW/IP21/Integrated terminal | SCHNEIDER | ATV930U75N4
80 | 1 | 2601.2578 | Frequency inverter AC | 380-480V/2.2kW/IP20/Integrated terminal | SCHNEIDER | ATV320U22N4B
81 | 1 | 2601.2733 | Frequency inverter AC | 380-480V / 2,2 kW | ABB | ACS380-040S-05A6-4
82 | 2 | 2601.9176 | Ethernet Switch | 5x 10/100BASE-TX/Din Rail | HIRSCHMANN | 943 824-002
83 | 1 | 2601.9209 | Extension board | Encoder HTL | ABB | FEN-31
84 | 8 | 2716.9069 | Transport eyelet | Transport eyelet M12 (4pc) | RITTAL | SZ 4568.000
85 | 1 | 2720.1251 | Switch cabinet | 800x2000x600, RAL7035 | RITTAL | TS8806.500
86 | 1 | 2720.1290 | Switch cabinet | 1000x2000x600, RAL7035 | RITTAL | TS 8006.500
87 | 1 | 2720.1345 | Switch cabinet | 800x2000x500, RAL7035 | RITTAL | VX 8805.000
88 | 1 | 2720.1346 | Switch cabinet | 1000x2000x500, RAL7035 | RITTAL | VX 8005.000
89 | 1 | 2720.1347 | Switch cabinet | 1200x2000x500, RAL7035 | RITTAL | VX 8205.000
90 | 1 | 2720.1348 | Switch cabinet | 800x2000x600, RAL7035 | RITTAL | VX 8806.000
91 | 1 | 2720.1368 | Switch cabinet | 1000x2000x600, RAL7035 | RITTAL | VX8006.000
92 | 1 | 2720.1374 | Switch cabinet | 1200x2000x600, RAL7035 | RITTAL | VX 8206.000
93 | 2 | 2723.2017 | Side panel | 600 x 2000, RAL7035 | RITTAL | TS8106.235
94 | 3 | 2723.2033 | Side panel | 500 x 2000, RAL7035 | RITTAL | VX 8105.245
95 | 3 | 2723.2034 | Side panel | 600 x 2000, RAL7035 | RITTAL | VX 8106.245
96 | 1 | 2724.1007 | Plinth, front/rear TS | H:100mm / W:800mm RAL7022 | RITTAL | TS8601.800
97 | 2 | 2724.1008 | Side plinth | H:100mm / D:600mm RAL7022 | RITTAL | TS8601.060
98 | 1 | 2724.1023 | Plinth, front/rear TS | H:100mm / W:1000mm RAL7022 | RITTAL | -> replaced by 2724.1041
99 | 2 | 2724.1040 | Plinth, front/rear VX | H:100mm / W:800mm RAL9005 | RITTAL | VX 8660.003
100 | 2 | 2724.1041 | Plinth, front/rear VX | H:100mm / W:1000mm RAL9005 | RITTAL | VX 8660.005
101 | 2 | 2724.1042 | Plinth, front/rear VX | H:100mm / W:1200mm RAL 9005 | RITTAL | VX 8660.007
102 | 3 | 2724.2011 | Side plinth | H:100mm / D:500mm RAL9005 | RITTAL | VX 8660.032
103 | 3 | 2724.2013 | Side plinth | H:100mm / D:600mm RAL9005 | RITTAL | VX 8660.033
104 | 8 | 2726.0004 | Drawing pocket | plastic, DIN A3 | RITTAL | SZ 2513.000
105 | 8 | 2726.0061 | Mounting Rail | 32X15X1.5 3m | SOCOMEC | 5000 0308
106 | 3 | 2726.0095 | Mounting bar | Mounting bar L:500 (4pc) | RITTAL | VX 8617.710
107 | 5 | 2726.0096 | Mounting bar | Mounting bar L:600 (4pc) | RITTAL | VX 8617.720
108 | 1 | 2727.9913 | Cubicle lighting Câble | ORANGE, 3m, 2 p | RITTAL | SZ4315.100
109 | 5 | 2727.9937 | Cubicle lighting | 110-240V,50-60Hz,18W / LED | RITTAL | SZ 2500.300
110 | 5 | 2727.9938 | Power cord | ORANGE, 3m, 3 p | RITTAL | SZ 2500.500
111 | 1 | 2727.9943 | Cubicle lighting | 110-240V,50-60Hz,7W / LED | RITTAL | SZ 2500.110